## Sheet1
infratec good periods | lodestone good periods | Infratec good periods not in lodestone good periods | reason for exclustion lodestone script | Infratec good periods not in lodestone good periods | reason for exclustion lodestone script | Manual Check on lodestone 1 min data to verify that it should be filtered | reason was not filtered on infratech
45292 | 45421.3958 | 2024-01-01 | #N/A | 2024-01-01 | #N/A |  | unable to determine
45421.3854 | 45421.4062 | 2024-05-09 09:15 | ['Irradiance - Range - WS211_ghi_lower_limit'] | 2024-05-09 09:15 | ['Irradiance - Range - WS211_ghi_lower_limit'] | filtered correctly
45421.3958 | 45421.4479 | 0 |  | 2024-05-09 10:00 | ['Irradiance - Abrupt change - WS211'] | filtered correctly
45421.4062 | 45421.4583 | 0 |  | 2024-05-09 10:15 | ['Irradiance - Abrupt change - WS231']
45421.4167 | 45421.4688 | 2024-05-09 10:00 | ['Irradiance - Abrupt change - WS211'] | 2024-05-09 12:15 | ['Irradiance - Abrupt change - WS231']
45421.4271 | 45421.5208 | 2024-05-09 10:15 | ['Irradiance - Abrupt change - WS231'] | 2024-05-09 13:15 | ['Irradiance - Abrupt change - WS211']
45421.4479 | 45421.5312 | 0 |  | 2024-05-09 13:45 | ['Irradiance - Abrupt change - WS231']
45421.4583 | 45421.5417 | 0 |  | 2024-05-09 14:15 | ['Irradiance - Abrupt change - WS211']
45421.4688 | 45421.5625 | 0 |  | 2024-05-10 09:15 | ['Irradiance - Range - WS211_ghi_lower_limit'] | filtered correctly
45421.5104 | 45421.5833 | 2024-05-09 12:15 | ['Irradiance - Abrupt change - WS231'] | 2024-05-11 09:15 | ['Irradiance - Range - WS211_ghi_lower_limit']
45421.5208 | 45421.6146 | 0 |  | 2024-05-11 13:00 | ['Irradiance - Abrupt change - WS231']
45421.5312 | 45422.3958 | 0 |  | 2024-05-12 09:15 | ['Irradiance - Range - WS211_ghi_lower_limit']
45421.5417 | 45422.4062 | 0 |  | 2024-05-17 09:30 | ['Irradiance - Range - WS211_ghi_lower_limit']
45421.5521 | 45422.4167 | 2024-05-09 13:15 | ['Irradiance - Abrupt change - WS211'] | 2024-05-17 12:45 | ['Irradiance - Abrupt change - WS231']
45421.5625 | 45422.4271 | 0 |  | 2024-05-19 09:30 | ['Irradiance - Range - WS211_ghi_lower_limit']
45421.5729 | 45422.4375 | 2024-05-09 13:45 | ['Irradiance - Abrupt change - WS231'] | 2024-05-20 09:45 | ['Irradiance - Range - WS211_ghi_lower_limit']
45421.5833 | 45422.4479 | 0 |  | 2024-05-20 10:45 | ['Power - Abrupt change'] | filtered correctly
45421.5938 | 45422.4583 | 2024-05-09 14:15 | ['Irradiance - Abrupt change - WS211'] | 2024-05-22 11:15 | ['Irradiance - Abrupt change - WS211']
45421.6146 | 45422.4688 | 0 |  | 2024-06-08 | #N/A
45422.3854 | 45422.4792 | 2024-05-10 09:15 | ['Irradiance - Range - WS211_ghi_lower_limit']
45422.3958 | 45422.4896 | 0
45422.4062 | 45422.5 | 0
45422.4167 | 45422.5104 | 0
45422.4271 | 45422.5208 | 0
45422.4375 | 45422.5312 | 0
45422.4479 | 45422.5417 | 0
45422.4583 | 45422.5521 | 0
45422.4688 | 45422.5625 | 0
45422.4792 | 45422.5729 | 0
45422.4896 | 45422.5833 | 0
45422.5 | 45422.5938 | 0
45422.5104 | 45422.6042 | 0
45422.5208 | 45422.6146 | 0
45422.5312 | 45423.3958 | 0
45422.5417 | 45423.4062 | 0
45422.5521 | 45423.4167 | 0
45422.5625 | 45423.4271 | 0
45422.5729 | 45423.4375 | 0
45422.5833 | 45423.4479 | 0
45422.5938 | 45423.4583 | 0
45422.6042 | 45423.4688 | 0
45422.6146 | 45423.4792 | 0
45423.3854 | 45423.4896 | 2024-05-11 09:15 | ['Irradiance - Range - WS211_ghi_lower_limit']
45423.3958 | 45423.5 | 0
45423.4062 | 45423.5104 | 0
45423.4167 | 45423.5208 | 0
45423.4271 | 45423.5312 | 0
45423.4375 | 45424.3958 | 0
45423.4479 | 45424.4062 | 0
45423.4583 | 45424.4167 | 0
45423.4688 | 45424.4271 | 0
45423.4792 | 45424.4375 | 0
45423.4896 | 45424.4479 | 0
45423.5 | 45424.4583 | 0
45423.5104 | 45424.4688 | 0
45423.5208 | 45424.4792 | 0
45423.5312 | 45424.4896 | 0
45423.5417 | 45424.5 | 2024-05-11 13:00 | ['Irradiance - Abrupt change - WS231']
45424.3854 | 45424.5104 | 2024-05-12 09:15 | ['Irradiance - Range - WS211_ghi_lower_limit']
45424.3958 | 45424.5208 | 0
45424.4062 | 45424.5312 | 0
45424.4167 | 45424.5417 | 0
45424.4271 | 45424.5521 | 0
45424.4375 | 45424.5625 | 0
45424.4479 | 45424.5729 | 0
45424.4583 | 45424.5833 | 0
45424.4688 | 45424.5938 | 0
45424.4792 | 45424.6042 | 0
45424.4896 | 45424.6146 | 0
45424.5 | 45425.5729 | 0
45424.5104 | 45425.6146 | 0
45424.5208 | 45429.4062 | 0
45424.5312 | 45429.4167 | 0
45424.5417 | 45429.4271 | 0
45424.5521 | 45429.4375 | 0
45424.5625 | 45429.4479 | 0
45424.5729 | 45429.4583 | 0
45424.5833 | 45429.4688 | 0
45424.5938 | 45429.4792 | 0
45424.6042 | 45429.4896 | 0
45424.6146 | 45429.5 | 0
45425.5729 | 45429.5104 | 0
45425.6146 | 45429.5208 | 0
45429.3958 | 45429.5417 | 2024-05-17 09:30 | ['Irradiance - Range - WS211_ghi_lower_limit']
45429.4062 | 45429.5521 | 0
45429.4167 | 45429.5625 | 0
45429.4271 | 45429.5729 | 0
45429.4375 | 45429.5833 | 0
45429.4479 | 45429.5938 | 0
45429.4583 | 45429.6042 | 0
45429.4688 | 45430.4062 | 0
45429.4792 | 45430.4167 | 0
45429.4896 | 45430.4271 | 0
45429.5 | 45430.4375 | 0
45429.5104 | 45430.4479 | 0
45429.5208 | 45430.4583 | 0
45429.5312 | 45430.4688 | 2024-05-17 12:45 | ['Irradiance - Abrupt change - WS231']
45429.5417 | 45430.4792 | 0
45429.5521 | 45430.4896 | 0
45429.5625 | 45430.5 | 0
45429.5729 | 45430.5104 | 0
45429.5833 | 45430.5208 | 0
45429.5938 | 45430.5312 | 0
45429.6042 | 45430.5417 | 0
45430.4062 | 45430.5521 | 0
45430.4167 | 45430.5625 | 0
45430.4271 | 45430.5729 | 0
45430.4375 | 45430.5833 | 0
45430.4479 | 45430.5938 | 0
45430.4583 | 45430.6042 | 0
45430.4688 | 45431.4062 | 0
45430.4792 | 45431.4167 | 0
45430.4896 | 45431.4271 | 0
45430.5 | 45431.4375 | 0
45430.5104 | 45431.4479 | 0
45430.5208 | 45431.4583 | 0
45430.5312 | 45431.4688 | 0
45430.5417 | 45431.4792 | 0
45430.5521 | 45431.4896 | 0
45430.5625 | 45431.5 | 0
45430.5729 | 45431.5104 | 0
45430.5833 | 45431.5208 | 0
45430.5938 | 45431.5312 | 0
45430.6042 | 45431.5417 | 0
45431.3958 | 45431.5521 | 2024-05-19 09:30 | ['Irradiance - Range - WS211_ghi_lower_limit']
45431.4062 | 45431.5625 | 0
45431.4167 | 45431.5729 | 0
45431.4271 | 45431.5833 | 0
45431.4375 | 45431.5938 | 0
45431.4479 | 45431.6042 | 0
45431.4583 | 45434.4062 | 0
45431.4688 | 45434.4167 | 0
45431.4792 | 45434.4271 | 0
45431.4896 | 45434.4375 | 0
45431.5 | 45434.4479 | 0
45431.5104 | 45434.4583 | 0
45431.5208 | 45434.5 | 0
45431.5312 | 45434.5104 | 0
45431.5417 | 45434.5208 | 0
45431.5521 |  | 0
45431.5625 |  | 0
45431.5729 |  | 0
45431.5833 |  | 0
45431.5938 |  | 0
45431.6042 |  | 0
45432.4062 |  | 2024-05-20 09:45 | ['Irradiance - Range - WS211_ghi_lower_limit']
45432.4479 |  | 2024-05-20 10:45 | ['Power - Abrupt change']
45434.4062 |  | 0
45434.4167 |  | 0
45434.4271 |  | 0
45434.4375 |  | 0
45434.4479 |  | 0
45434.4583 |  | 0
45434.4688 |  | 2024-05-22 11:15 | ['Irradiance - Abrupt change - WS211']
45434.5 |  | 0
45434.5104 |  | 0
45434.5208 |  | 0
45451 |  | 2024-06-08 | #N/A